| Product # 1004-51 |
| --- |
|  | FastSet™ Concrete Mix A special blend of cement with specifically graded fine & coarse aggregates. Sets in 20-30 minutes allowing time for mixing, pouring and finishing. Use at any thickness from 1-1/2" to 24". Exceeds the requirements of ASTM C 928 R-3. Available in: 70 lb. bags - 45 per pallet |

Use for: Concrete Driveways Highways Bridge Decks Concrete Parking Lots Concrete Floors Sidewalks

| Product # 1585-09 |
| --- |
|  | FastSet™ Non Shrink Grout Designed for structural concrete repairs from 1/4" to 24" deep. Features a 30 minute set time, non shrink characteristics and rapid strength gain. Can be mixed to a plastic, flowable or fluid consistency. Exceeds ASTM C 928 R-3 and ASTM C 1107. Available in: 60 lb. bags - 56 per pallet 20 lb. pails - 90 per pallet |

Use for Anchoring and Grouting: Anchor Bolts Steel Column Bases Bearing Plates Pre-cast Concrete Keyways Floor Leveling

| Product # 1241-60 |
| --- |
|  | FastSet™ Repair Mortar Specifically formulated to make structural repairs to any concrete, masonry or stucco surface. 30 minute working time and unique properties allow sculpting of the material during placement. Exceeds ASTM C 928 R-2. Available in: 60 lb. bags - 56 per pallet 20 lb. pails - 90 per pallet |

Use for: Vertical and Overhead Repairs to Any Concrete, Masonry or Stucco Surface

| Product # 1585-00 |
| --- |
|  | Non-Shrink Precision Grout Non-metallic portland cement based material including expansive additives. Add only water to obtain flowable properties and high strengths. Non-shrink characteristics make it stable and capable of handling high load transfers. Available in: 50 lb. bags - 63 per pallet |

Use for: Grouting of All Types of Machinery, Steel Columns and Bearing Plates Anchoring Conditions that Require High In-Service Strength

| Product # 1249-50 & 1249-51 |
| --- |
|  | Self-Leveling Floor Resurfacer Self-finishing interior floor toppings and underlayments specially formulated to produce smooth surfaces ready for the installation of ceramic tile, resilient flooring or other finishes. No troweling required. Available in: 50 lb. bags - 63 per pallet |

Use: Over Precast Floor Slabs, New Concrete, Damaged or Unfinished Floor Slabs Fast-Set Formula for Meeting Exacting Tolerances for Installation of X-ray, Computer or Telephone Equipment

| Product # 1248-25 |
| --- |
|  | Fast-Set Underlayment A special blend of cement and fine aggregates for leveling concrete or wood floors prior to installing floor coverings. Available in: 25 lb. bags - 100 per pallet |

Use: Interior Applications Where Rough or Pitted Floors Need to be Leveled Before Carpet, Tile or Other Flooring is Installed

| Product # 1961, 1962 & 1963 |
| --- |
|  | Commercial Grade Sand General purpose sand available in Fine, Medium and Coarse blends. Available in: 50 lb. bags - 56 per pallet 100 lb. bags - 35 per pallet |

Use for: Underlayment for Patios/Walks Landscaping

| Product # 1240 |
| --- |
|  | Quick-Setting Cement Specially formulated to set in approximately 10 minutes. Can be molded or sculpted into place. Available in: 6 lb. pails - 6 per case 20 lb. pails - 60 per pallet 50 lb. bags - 63 per pallet |

Use for: Making Concrete Repairs Where Rapid Setting is Required Ideal for Repairing Broken Edges of Concrete Steps & Curbs

| Product # 1245 |
| --- |
|  | Anchoring Cement A pourable cement that develops strength greater than concrete. Expands as it hardens and sets in 15-45 minutes. Just add water. Available in: 6 lb. pails - 6 per case 20 lb. pails - 60 per pallet |

Use for: Setting Bolts, Handrails, or Anything Metal to be Anchored in Concrete Ideal for Repairing Loose Wrought Iron Railings

Product # 1126 Hydraulic Water-Stop Cement Special formula allows product to obtain high strength and rapid setting while repelling water. Available in: 6 lb. pails - 6 per case 20 lb. pails - 60 per pallet Use for: Blocking Running Water or Leaks in Cracked Masonry or Concrete Surfaces

| Product # 1131-40 |
| --- |
|  | Concrete Resurfacer A special blend of portland cement, sand, polymer modifiers and other additives. Designed to provide a shrinkage compensated repair material for making thin repairs to sound concrete in need of surface renewal. Available in: 40 lb. bags - 64 per pallet |

Use for: Sidewalks Pool Decks Concrete Floors Driveways Patios Parking Decks Floors Curbs

| Product # 8800 |
| --- |
|  | Acrylic Concrete Cure & Seal Highly water resistant clear coating that protects and seals concrete surfaces. Also promotes proper curing by retaining water in freshly placed concrete. Available in: 1 gallon bottle - 6 per case 5 gallon bottle - 36 per pallet |

Use for: Curing New Concrete for a Stronger and More Durable Finish Sealing Concrete Surfaces Against Water, Salt, Grease, etc.

| Product # 9902 |
| --- |
|  | Concrete Bonding Adhesive Penetrates pores of old concrete, forming a chemical bond for new concrete overlays 1" or thicker. Apply directly to concrete surface. Available in: 1 qt. bottle - 12 per case 1 gallon bottle - 4 per case |

Use: Bonding New Concrete to Old Concrete

Product # 8610 Concrete Acrylic Fortifier A water-resistant acrylic resin admixture for portland cement-based repair and patching products. Provides increased bond strength when mixed with QUIKRETE® Sand Mix, QUIKRETE® SBC and other QUIKRETE® Repair Products. Available in: 1 qt. bottle - 12 per case 1 gallon bottle - 4 per case Use for: Applications Requiring Increased Bond Strength and Improved Resistance to Water Penetration

| Product # 8620-09 |
| --- |
|  | Mortar Repair Use in standard caulking gun. Square applicator tip is designed for mortar joints. Available in: 10 oz. tubes - 12 per case |

Use for: Tuck-pointing and Sealing Mortar Joints in Brick or Block Surfaces Cracks in Concrete and Block Walls

Product # 1133 & 1132 Vinyl Concrete Patcher Multi-purpose concrete repair material with strong adhesive properties. Trowels to a feather edge of 1/16". Made of a special blend of exterior grade vinyl resin, fine sand, and portland cement. Just add water. Available in gray and white. Available in: 6 lb. pails - 6 per case 20 lb. pails - 60 per pallet 40 lb. bags - 64 per pallet Use for: Making Smooth Repairs to Cracked or Chipped Concrete Floors, Sidewalks or Steps

Product # 1150 Patio Paver Sand Proper grade for drainage. Provides good durability in areas not subject to ground freeze. Available in: 50 lb. bags - 56 per pallet Use for: An Underlayment Beneath Brick, Flagstone, Adobe and Interlocking Pavers Patios, Walkways and Driveways Sands and Gravel MSDS Document

| Product # 1113 |
| --- |
|  | Play Sand Specially graded sand that has been washed, dried and screened. Available in: 50 lb. bags - 56 per pallet |

Use for: Children's Sand Boxes

| Product # 1152 |
| --- |
|  | All-Purpose Sand Multi-purpose product. Available in: 50 lb. bags - 56 per pallet 70 lb. bags - 42 per pallet |

Use for: Underlayment for Brick Pavers Traction on Snow and Ice Mixing with Potting Soil Mixing with Portland Cement and Gravel to Make Concrete

| Product # 1151 |
| --- |
|  | All-Purpose Gravel Multi-use product for a variety of decorative and landscaping applications. Also for making concrete. Available in: 50 lb. bags - 56 per pallet |

Use for: Landscaping, Gardening, Patios, Tree Wells, Walks, Rooftops, Fish Ponds and Aquariums As a Decorative Extension to Stucco Wallcoating Mixing with Portland Cement and All Purpose Sand to Make Concrete

Product # 1201 & 1202 Finish Coat Stucco Use only over portland cement brown coat or scratch coat surfaces which have been prepared in accordance with accepted stucco procedures and methods. Add color with QUIKRETE® Stucco & Mortar Color. Available in: 80 lb. bags - 42 per pallet Use for: A Stucco Finish of Beautiful Texture and Color on New Construction or Remodeling

Product # 1139 Base-Coat Stucco A portland cement based stucco for scratch and/or brown coats where Type M plaster is specified. Available in: 50 lb. bags - 56 per pallet 80 lb. bags - 42 per pallet Use for: The Scratch and/or Brown Coat in a Three-coat Stucco Application, or the First Coat in a Two-Coat Application

| Product # 1200 & 1216 |
| --- |
|  | Fiberglass Reinforced Stucco (FRS) Glass fiber reinforced stucco. Available in a sanded version requiring the addition of only water, or in a concentrated version which requires the addition of sand. Available in: Sanded: 80 lb. bags - 42 per pallet Concentrated: 90 lb. bags - 35 per pallet |

Use for: One Coat Stucco Over Exterior Insulation Board or Wall Panel Systems Crack-Resistant Shell Beneath Decorative Coating of Finish Coat Stucco

Product # 1230, 1231 & 1220 QUIKWALL® Surface-Bonding Cement Portland cement based blend of fine sand and glass fibers for repairing wet, cracked, unattractive walls. Add color with QUIKRETE® Stucco & Mortar Color. Available in: 50 lb. bags - 56 per pallet Use for: Dry-stack Concrete Block Construction (without mortar) Waterproofing and Strengthening Block Walls Built with Mortar Rehabilitating Existing Walls with a Water-resistant and Decorative Coating

| Product # 1101 |
| --- |
|  | Concrete Mix Original 4000 psi average compressive strength blend of portland cement, sand, and gravel or stone. Just add water. Use for any general concrete work. Available in: 40lb. bags - 80 per pallet 60lb. bags - 56 per pallet 80lb. bags - 42 per pallet |

Use for Setting Posts and Building: Sidewalks Downspout Troughs Steps Floors Patios Curbs

Product # 1007 QUIKRETE® 5000 Concrete Mix Commercial grade blend of stone or gravel, sand and cement specially designed for higher early strength. Achieves 5000 psi after 28 days. Available in: 60 lb. bags - 56 per pallet 80 lb. bags - 42 per pallet Use for: Driveway Aprons Patios Concrete Projects 2" Thick or More That Require High Strength

Product # 1004 Fast-Setting Concrete Mix A special blend of fast-setting cements, sand and gravel designed to set hard in approximately 20 to 40 minutes. Sets posts without mixing. Pour dry mix into hole and soak with water. Available in: 50 lb. bags - 64 per pallet Use for Setting: Fence Posts Mailbox Posts Lamp Posts Swing Set Use for Building: Steps Sidewalks Air Conditioner Pads

Product # 1006 Fiber-Reinforced Concrete Mix Construction Grade blend of portland cement, sand, gravel & special reinforcing fibers to reduce shrinkage cracks and improve impact resistance. Just add water. Ideal for use with Walk Maker™ projects. Available in: 60 lb. bags - 56 per pallet Use for Building: Walkways & Patios Steps Footings

| Product # 1103 |
| --- |
|  | Sand (Topping) Mix Original high strength blend of portland cement and graded sand. Available in: 40 lb. bags - 80 per pallet 60 lb. bags - 56 per pallet 80 lb. bags - 42 per pallet |

Use for: Pouring Overlays Less Than 2" Thick Patching and Topping Chipped Concrete Surfaces Laying Flagstone and Paving Bricks

Product # 1102 Mortar Mix A blend of masonry cement and graded sand. A long lasting, strong bonding mortar. Just add water. Available in: 40 lb. bags - 80 per pallet 60 lb. bags - 56 per pallet 80 lb. bags - 42 per pallet Use for: Laying Brick, Block or Stone for Walls, Columns, etc. Repairing Damaged Joints in Brick, Block and Stone Masonry (non-structural)

| Product # 1136 |
| --- |
|  | Mason Mix High strength Commercial Grade blend of sand and cements specially selected for masonry applications. Just add water. Add color with QUIKRETE® Stucco & Mortar Color. Available in: 60 lb. bags - 56 per pallet 80 lb. bags - 42 per pallet |

Use for: Laying Brick, Block or Stone for Walls, Columns, etc. Structural Walls Above or Below Grade

| Product # 1610 |
| --- |
|  | Glass Block Mortar Blend of white sand, cement, lime and special additives designed to provide a decorative, waterproof joint. Just add water. Available in: 50 lb. bags - 63 per pallet |

Use for: Laying Glass Block for Interior or Exterior Walls Laying Brick, Block or Tile Where White Mortar is Desired

| Product # 1124 |
| --- |
|  | Portland Cement Type I pure portland cement. The main ingredient for concrete. Available in: 47 lb. bags - 63 per pallet 69 lb. bags - 35 per pallet |

To make concrete, mix: 3 Parts Gravel 2 Parts All-Purpose Sand 1 Part Portland Cement (by volume

| Product # 1125 |
| --- |
|  | Masonry Cement - Type N The main ingredient for Type N Masonry Mortar. Type S and M Masonry Cement also available. Available in: 70 lb. bags - 40 per pallet |

To make Type N Masonry Mortar, mix: 3 Parts Masonry Sand 1 Part Type N Masonry Cement (by volume)